# GridSenpAI Data Translation Framework for Transmission Planning Models

# 1. Data Inputs from Data Center Electrical Engineers

Point of interconnection information (POI voltage, feeder, service configuration)

Facility one-line diagram and major equipment list

Load composition (IT vs cooling vs misc)

UPS specifications (vendor, topology, operating mode, ratings)

Backup generator specifications and operating policies

Protection settings and ride-through curves

Power quality and harmonic information

Commissioning and energization plan

# 2. RAG Library Requirements

Vendor specification corpus (UPS, generators, transformers, switchgear, relays, VFDs)

Power system modeling references (IEEE, CIGRE, ISO modeling guidelines)

Simulation documentation for tools like PSS/E, PSLF, PowerWorld

Internal parameter dictionary mapping vendor specs to modeling parameters

Optional empirical behavior datasets from real facility telemetry

# 3. Translation Pipeline

Parse and normalize design artifacts and vendor specifications

Construct equivalent facility-level behavioral model

Derive parameter sets and uncertainty bounds

Generate transmission-planning-ready modeling artifacts

# 4. Transmission Planner Model Outputs

Steady-state parameters (Pmax, Pmin, Q behavior, PF targets)

ZIP load model coefficients

Dynamic load parameters (voltage/frequency sensitivity, recovery constants)

Load composition fractions

Ramping and staging parameters

Backup generator interaction flags

Power quality screening outputs

# 5. Minimum vs Ideal Input Sets

Minimum: one-line, MW schedule, load composition, UPS topology, generator ratings

Ideal: full equipment models, relay settings, operating policies, commissioning test results

# 6. Expected Deliverables from GridSenpAI

Study-ready interconnection modeling packet

Equivalent load model parameters for transmission simulations

Confidence-tagged parameter sets

Automated missing-information request generation