# Section4 Challenges with Applicant Information

Question

What information from large load applicants is most often incomplete or missing?

Extracted Answer

Transmission planners frequently report that dynamic load models, ramp‑rate behavior, and detailed internal electrical architecture are missing or incomplete in early submissions.

Source

EPRI Large Load Interconnection Research; Brattle Group Interconnection Queue Analysis

Evidence or Key Passage

Studies note that planners often receive limited operational detail for emerging facility types such as hyperscale data centers.

Source Type

Industry report

Confidence Level

Medium

Notes

Information improves later in project development.

Question

Are there situations where applicants are hesitant to provide certain information due to proprietary concerns?

Extracted Answer

Yes. Data center operators and other industrial facilities may hesitate to share detailed internal electrical architecture because it can reveal proprietary infrastructure design.

Source

EPRI Data Center Grid Integration Study

Evidence or Key Passage

Industry interviews indicate confidentiality concerns regarding facility electrical design.

Source Type

Industry research

Confidence Level

Medium

Notes

Common with hyperscale operators.