# Section5 Load Behavior and Grid Impact

Question

How predictable are the loads of large facilities such as data centers once they are connected to the grid?

Extracted Answer

Data centers generally exhibit relatively stable baseline demand but can experience sudden changes due to computing workloads or cooling system changes.

Source

EPRI Data Center Energy Demand Studies; NERC Long‑Term Reliability Assessment

Evidence or Key Passage

Studies show that computing workloads can shift rapidly while baseline infrastructure remains constant.

Source Type

Industry report

Confidence Level

High

Notes

AI workloads may increase variability.

Question

Are there scenarios where large loads can change demand rapidly?

Extracted Answer

Yes. Events such as server cluster activation, large computational job scheduling, or failover operations can change demand quickly.

Source

IEEE Research on Data Center Power Management

Evidence or Key Passage

Academic research describes rapid power scaling in high‑performance computing environments.

Source Type

Academic paper

Confidence Level

Medium

Notes

Behavior varies by workload management strategy.