# Section7 Pain Points

Question

What is the most difficult part of evaluating large load interconnection requests?

Extracted Answer

The most difficult challenge is evaluating the transmission upgrades required to maintain system reliability when very large loads connect.

Source

Brattle Group Interconnection Queue Studies; NERC Reliability Assessments

Evidence or Key Passage

Reports note that identifying and planning transmission upgrades can take significant time.

Source Type

Industry report

Confidence Level

High

Notes

Upgrade analysis drives much of the timeline.

Question

What factors cause the largest delays in the review process?

Extracted Answer

Major delays are often caused by incomplete data submissions, backlog of interconnection requests, and the complexity of transmission upgrade studies.

Source

FERC Interconnection Reform Reports

Evidence or Key Passage

Reports document multi‑year delays due to queue congestion and study complexity.

Source Type

Government report

Confidence Level

High

Notes

Delays have increased significantly in recent years.