# Section9 Future Trends

Question

How do you expect large load demand to change over the next five years?

Extracted Answer

Demand from data centers, particularly AI training clusters, is expected to grow rapidly, significantly increasing electricity consumption in several regions.

Source

NERC Long‑Term Reliability Assessment; IEA Electricity Reports

Evidence or Key Passage

Reliability assessments forecast rapid growth in data center electricity demand.

Source Type

Industry report

Confidence Level

High

Notes

AI workloads are a major driver.

Question

What reliability concerns do planners have as more large loads connect to the system?

Extracted Answer

Reliability concerns include transmission congestion, voltage stability challenges, and the need for additional generation and transmission capacity.

Source

NERC Reliability Assessments

Evidence or Key Passage

Reliability reports discuss risks associated with rapid load growth.

Source Type

Industry standard

Confidence Level

High

Notes

Planning processes may require modernization.