# GridSenpAI Concept of Operations (CONOPS)

## 1. Introduction

This document describes the Concept of Operations (CONOPS) for the GridSenpAI system.

GridSenpAI is an AI-assisted engineering platform designed to analyze electrical grid interconnection artifacts and generate modeling parameters used in power system studies.

The CONOPS explains how the system will be used in real operational environments by engineers, planners, and infrastructure developers.

It provides the operational context for the system described in the SRS, SAD, and DSD documents.

## 2. System Overview

GridSenpAI assists engineers involved in grid interconnection studies by automatically extracting engineering data from submitted artifacts and transforming that information into modeling parameters suitable for grid simulation tools.

The system ingests documentation such as:

• electrical one-line diagrams

• load schedules

• equipment specifications

• planning documents

• study reports

Using AI-assisted analysis and retrieval techniques, the system identifies relevant electrical characteristics and produces structured modeling outputs with traceable evidence.

## 3. Operational Environment

GridSenpAI operates within a planning and engineering workflow involving:

• data center developers or large load customers

• transmission planners

• grid interconnection engineers

• system operators

The system is deployed on IBM Cloud infrastructure and uses Watson AI services to assist with document analysis and knowledge retrieval.

Users interact with the system through a secure web interface or API gateway.

## 4. User Roles

Primary roles interacting with the system include:

Grid Engineer

Responsible for performing system modeling and power flow studies.

Transmission Planner

Evaluates system impacts of new interconnections.

Infrastructure Developer

Provides technical documentation describing the proposed facility.

System Administrator

Maintains system availability, security, and monitoring.

## 5. Operational Workflow

The operational workflow for GridSenpAI typically follows these steps:

1. Engineering artifacts are submitted to the system.

2. The ingestion service indexes and stores the artifacts.

3. The extraction engine identifies equipment, load characteristics, and topology indicators.

4. The normalization service converts extracted data into a standardized schema.

5. The retrieval service queries knowledge sources for modeling references.

6. The translation service generates modeling parameters.

7. The scenario generator produces multiple modeling scenarios.

8. The export service packages the outputs for downstream grid simulation tools.

Each generated parameter is linked to source evidence for traceability.

## 6. System Outputs

GridSenpAI produces structured outputs including:

• load modeling parameters

• equipment characteristics

• scenario analysis results

• evidence-linked modeling assumptions

• exportable JSON datasets

• formatted engineering reports

These outputs can be used in power system simulation tools and planning studies.

## 7. Operational Benefits

The system provides several operational benefits:

• faster preparation of modeling parameters

• improved traceability of modeling assumptions

• reduced manual document review

• improved consistency across studies

• support for multiple scenario generation

These capabilities help engineers evaluate interconnection impacts more efficiently.

## 8. Assumptions and Constraints

The following assumptions apply:

• Users have access to engineering documentation describing the facility.

• The system operates within secure IBM Cloud infrastructure.

• AI models assist with analysis but final engineering review remains the responsibility of human operators.

Constraints include:

• document quality may vary

• incomplete artifacts may require additional user clarification

• system outputs must be validated before use in official studies.