GridSenpAI
Translation Algorithm Design (TAD)

Microservices Architecture • IBM Watson-enabled
Version: 1.0
Date: March 05, 2026

# 1. Purpose

This Translation Algorithm Design (TAD) defines how GridSenpAI converts normalized facility inputs and retrieved evidence into transmission-planning-ready modeling parameters. The algorithm is schema-first, provenance-first, and audit-ready. It is designed to operate in an IBM Watson environment using Watsonx.ai for model-assisted extraction and Watson Discovery (or Watsonx Vector Index) for retrieval.

# 2. Inputs, Outputs, and Guarantees

## 2.1 Inputs (Authoritative)

NormalizedInput (schema-valid) from GridSenpAI_inputs_schema.json

EvidenceBundle (retrieved snippets with stable snippet_id)

RunConfig (pinned model version, retrieval configuration, schema versions, feature flags)

Optional: Follow-up question answers (to resolve missing/ambiguous fields)

## 2.2 Outputs (Authoritative)

ModelOutputs aligned to GridSenpAI_outputs_schema.json

OutputParameter records: parameter_path, value, units, confidence_tag, provenance

Assumptions list (explicit, bounded) when evidence is missing

ScenarioSet: Typical / Conservative / Best-case variants

## 2.3 Hard Guarantees

Schema-valid output: the system must emit outputs that validate against GridSenpAI_outputs_schema.json.

Provenance required: every exported parameter must reference evidence snippet_id(s), a deterministic rule_id, or an explicit assumption_id.

No silent hallucination: if evidence is missing and no deterministic rule applies, the system must create a declared assumption or emit a follow-up question; it must not fabricate support.

Reproducibility: outputs are bound to a pinned RunConfig; snippet_ids and retrieval config are persisted for later reconstruction.

# 3. High-Level Translation Pipeline

Load NormalizedInput, EvidenceBundle, and RunConfig for run_id.

Build a Parameter Plan (what to generate) based on facility composition and planner export template.

For each parameter in the plan: derive via deterministic rules first.

If rules require vendor/model specifics, extract from evidence using Watsonx.ai structured extraction with validation.

If evidence is missing: generate bounded assumptions and/or missing-data follow-up questions.

Assign provenance per parameter (evidence/rule/assumption).

Compute confidence tags per parameter and rollups.

Generate scenarios (Typical/Conservative/Best-case) by applying bounded transforms with rationale.

Validate outputs against schema; block export where provenance is incomplete.

# 4. Parameter Catalog and Planning

GridSenpAI treats parameter generation as a planning problem: based on the facility composition and the target export template (PSS/E, PSLF, PowerWorld), the system enumerates required parameters and their dependencies. This prevents missing outputs and keeps the algorithm deterministic.

## 4.1 Parameter Families

Facility Metadata:

interconnection_voltage

point_of_interconnection

base_MVA

frequency_hz

Load Composition:

IT_load_fraction

mechanical_fraction

lighting_fraction

auxiliary_fraction

Steady-State Load Model:

P_MW

Q_Mvar

power_factor

dispatch_constraints

ZIP Model Parameters:

Zp

Ip

Pp

Zq

Iq

Pq

Dynamic Response / Ramping:

ramp_rate_MW_per_min

step_response_flags

control_mode_assumptions

On-site Generation (if present):

generator_MW

inertia_assumption

governor_model_flag

Reactive/Voltage Support (if present):

VAR_capability_curve

voltage_control_mode

deadband

Protection / Fault Behavior (if modeled):

ride_through_assumptions

trip_thresholds_flags

Scenarios:

Typical

Conservative

Best-case parameter adjustments

## 4.2 Parameter Plan Object

The Parameter Plan is an internal structure that enumerates required parameters, dependencies, and acceptable derivation methods. It is created per run based on NormalizedInput.

Minimum fields:

parameter_path (matches outputs schema pathing)

units

required (boolean)

dependencies (list of field paths)

derivation_priority (RULE → EVIDENCE → ASSUMPTION → FOLLOWUP)

validation_rules (range, type, allowed enums)

# 5. Deterministic Rule Layer

The deterministic layer performs transformations that do not require LLM inference. Examples include unit normalization (already canonical), aggregation, template mapping, bounds enforcement, and schema shaping.

## 5.1 Rule Identifiers (rule_id)

Each deterministic rule must have a stable rule_id so parameters derived from rules can have provenance. Example naming convention: RULE.<category>.<name>.<version>.

Examples:

RULE.UNITS.KW_TO_MW.v1

RULE.ZIP.DEFAULTS.BY_EQUIPMENT_CLASS.v1

RULE.BOUNDS.PF_LIMITS.v1

RULE.AGGREGATION.TOTAL_LOAD.v1

## 5.2 Deterministic Derivations (Examples)

Total Load: P_MW = sum(equipment_loads_MW) + auxiliaries_MW; provenance=RULE.AGGREGATION.TOTAL_LOAD.v1

Power Factor Bound: power_factor constrained to [0.8, 1.0] unless evidence supports a tighter range; provenance=RULE.BOUNDS.PF_LIMITS.v1

ZIP Defaults: If composition class is 'data_center_typical' and evidence is absent, apply bounded defaults; provenance=RULE.ZIP.DEFAULTS.BY_EQUIPMENT_CLASS.v1 (or assumption if required by policy)

# 6. Evidence Extraction Layer (Watsonx.ai)

When parameter values depend on vendor specifications or narrative planning documents, GridSenpAI uses Watsonx.ai for structured extraction from retrieved evidence snippets. This layer is constrained by: schema validation, range checks, and provenance requirements.

## 6.1 Retrieval Inputs and Snippet Policy

Only snippets referenced in EvidenceBundle (by snippet_id) may be used as evidence provenance.

Extraction prompts must request structured JSON responses with exact fields and units.

All extracted values must be validated against expected ranges and types before acceptance.

## 6.2 Structured Extraction Contract

Watsonx extraction calls must produce a strict JSON payload. The translation service rejects non-JSON or schema-invalid payloads. The service records: model_version, prompt_version, and snippet_ids used.

## 6.3 Evidence Resolution Rules

If multiple snippets produce conflicting values, record the conflict and widen bounds for Conservative scenario.

Prefer values with explicit units and clear equipment model references.

If extraction yields low confidence or out-of-range values, downgrade confidence and convert to assumption/follow-up.

# 7. Assumptions and Missing-Data Handling

When evidence is missing or inputs are incomplete, GridSenpAI must explicitly declare assumptions or generate follow-up questions. Assumptions are bounded and are first-class artifacts stored alongside outputs.

## 7.1 Assumption Policy

Assumptions must include: parameter_path, bounds, rationale, and assumption_id.

Assumptions are scenario-aware: Conservative must not be more optimistic than Typical without justification.

If a requirement is marked 'hard-required' for study acceptance, generate follow-up questions instead of assumptions.

## 7.2 Follow-up Question Generation

Follow-up questions originate from schema validation gaps and from translation dependencies. Questions must reference the exact schema field path and list suggested source documents.

Example: Missing transformer impedance → field_path: facility.transformers[0].impedance_pu; suggested_sources: 'transformer datasheet', 'one-line notes'.

Example: Unknown UPS topology → field_path: facility.ups.topology; suggested_sources: 'UPS one-line diagram', 'UPS spec sheet'.

# 8. Provenance Model (Per-Parameter)

Each OutputParameter must be attributed to one of three provenance types. The algorithm attaches provenance at the moment a parameter value is finalized.

evidence: provenance_ref is one or more snippet_id values

rule: provenance_ref is a rule_id string

assumption: provenance_ref is an assumption_id

## 8.1 Provenance Attachment Rules

If a parameter is derived by combining evidence and rules, provenance_type remains 'evidence' and includes supporting snippet_ids; rule_id is stored as derivation metadata.

If a parameter is derived solely by deterministic logic without evidence, provenance_type is 'rule'.

If the parameter is a bounded placeholder due to missing evidence, provenance_type is 'assumption'.

Export must fail for any required parameter with missing provenance.

# 9. Confidence Scoring and Tags

Confidence is assigned per parameter and summarized at the run/scenario level. The model is intentionally simple and auditable. Confidence tags are driven by evidence coverage, conflict level, and assumption usage.

## 9.1 Confidence Inputs

Evidence coverage: count and quality of supporting snippets.

Conflict: number of conflicting candidates across artifacts/snippets.

Assumption reliance: whether the value is assumed and how wide the bounds are.

Validation health: whether derived values are comfortably within plausible ranges.

## 9.2 Suggested Tagging Scheme

HIGH: strong evidence with clear units + consistent values; minimal assumptions.

MEDIUM: some evidence but minor ambiguity/conflict; bounded assumptions may exist.

LOW: weak evidence or heavy reliance on assumptions; wide bounds.

NEEDS_REVIEW: validation warnings, conflicts, or out-of-range candidates detected.

# 10. Scenario Generation Rules

Scenario generation transforms a base (Typical) parameter set into Conservative and Best-case variants. Scenarios must remain schema-valid and must not violate monotonicity rules (Conservative is never more optimistic than Typical for risk-sensitive parameters).

## 10.1 Scenario Policy

Typical: best estimate based on evidence and deterministic derivations.

Conservative: widened bounds toward worst-case grid impact and greater uncertainty; lower confidence where assumptions dominate.

Best-case: values toward minimal grid impact when supported by evidence; never exceeds evidence-supported optimism.

## 10.2 Scenario Transform Examples

Ramp rate: Conservative reduces ramp_rate_MW_per_min by a policy delta if evidence is weak; Best-case increases within evidence bounds.

ZIP: Conservative biases toward higher constant power share when uncertainty exists; Best-case biases toward more impedance/current share when supported.

Power factor: Conservative uses lower bound of PF range; Best-case uses upper bound if supported.

# 11. IBM Watson Integration Details

GridSenpAI’s translation algorithm integrates with IBM Watson products as follows:

Watson Discovery / Watsonx Vector Index: stores and retrieves evidence snippets; provides snippet_id and source_ref.

Watsonx.ai: used for structured extraction tasks and optional reasoning constrained by schema and validation rules.

Watsonx.governance (recommended): tracks model/prompt lineage, supports audit and risk controls for infrastructure contexts.

# 12. Context Window Management and Drift Controls

GridSenpAI includes a context-handling strategy to address context window limits, drift, and attention deficits in model-assisted processing. The translation service must:

Use schema-first prompting: only provide the minimum fields required for the current extraction step.

Chunk evidence: only include the top relevant snippet(s) and a short surrounding window per extraction call.

Use stepwise execution: derive parameters in batches to prevent prompt overload.

Persist intermediate artifacts (Parameter Plan, candidates, conflicts) so the model is not asked to 'remember' prior steps.

Prefer deterministic rules before any model-assisted inference.

# 13. Pseudocode (Reference Implementation Outline)

function translate(run_id):

cfg = load_run_config(run_id)

inputs = load_normalized_input(run_id)

evidence = load_evidence_bundle(run_id)

plan = build_parameter_plan(inputs, cfg)

outputs = empty_model_outputs(cfg.outputs_schema_version)

assumptions = []

for param in plan.parameters:

candidate = try_deterministic_rules(param, inputs, cfg)

if candidate.valid:

attach_provenance(outputs, param, type='rule', ref=candidate.rule_id)

set_value(outputs, param, candidate.value)

continue

ev = select_relevant_snippets(param, evidence, inputs, cfg)

if ev.exists:

extracted = watsonx_structured_extract(param, ev, cfg)

if extracted.valid and passes_validation(param, extracted):

attach_provenance(outputs, param, type='evidence', ref=ev.snippet_ids)

set_value(outputs, param, extracted.value)

continue

if param.required and cfg.policy.requires_followup(param):

emit_followup_question(run_id, param)

mark_blocker(run_id, param)

continue

a = create_bounded_assumption(param, inputs, cfg)

assumptions.append(a)

attach_provenance(outputs, param, type='assumption', ref=a.assumption_id)

set_value(outputs, param, a.nominal_value)

confidence = compute_confidence(outputs, assumptions, evidence)

scenarios = generate_scenarios(outputs, assumptions, cfg)

validate_schema(outputs, scenarios)

persist(outputs, assumptions, confidence, scenarios)

# 14. Validation and Failure Rules

Schema validation failure: stop and mark run FAILED with explicit error list.

Missing provenance for required parameters: block export and emit remediation list.

Out-of-range values: downgrade confidence to NEEDS_REVIEW and, if severe, convert to assumption/follow-up.

Conflicts: preserve competing candidates in metadata and widen Conservative bounds.

# 15. Testability Hooks (RTM Alignment)

The translation algorithm is designed for verification. Each stage emits structured artifacts suitable for unit and integration tests: Parameter Plan, candidate values, validation reports, and provenance references.

Unit tests: deterministic rules, parameter planning, schema validation, provenance attachment.

Integration tests: retrieval → extraction → translation handoffs using stable snippet IDs.

System tests: end-to-end generation of export packets with scenario variants and changelog.

# 16. Out of Scope for This Version

Full dynamic model selection per specific ISO/utility template beyond canonical output schema mapping.

Advanced topology graph solving (beyond topology cues) unless required by a study use case.

Automated calibration algorithms beyond bounded updates and confidence adjustments.